UST Monthly Visual Inspection Report -   Month/Year

RCSA Section 22a-449(d)-108(c)(2) requires monthly visual inspections by or under the direction of the Class A or B Operator at each Underground Storage Tank (UST) facility.  These inspections must be documented including all findings and repairs made and the inspection reports maintained on-site for no less than 3 years.

Part I:  Facility Name, ID, and Address

| UST Facility Name: | UST Facility ID: |
| --- | --- |
| UST Facility Address: |  |

Part II:  Inspection Items

| Items listed in 22a-449(d)-108(c)(2)(C) |  |  | Tank ID | Tank ID | Tank ID | Tank ID |  | Tank ID | Tank ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vent Risers: each riser shows no visible damage. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Pressure/vacuum vent caps: each pressure/vacuum vent cap and/or rain cap shows no visible damage. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Spill buckets: each spill bucket shows no presence of oil, water, or debris. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| New piping containment sumps: each sump shows no presence of oil, water, or debris. Sensors properly placed. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Dry break poppet valves: each valve forms a continuous seal, depresses evenly across the valve seat, & reseats properly. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Overfill devices: Inspected within the last year. **ANNUAL INSPECTION** | DATE | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  |  | Dispenser # | Dispenser # | Dispenser # | Dispenser # |  | Dispenser # | Dispenser # |
| New under-dispenser containment sumps: each sump shows no presence of oil, water, debris. Sensors properly placed. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Motor fuel dispenser hoses: there are no tears, leaks, holes, kinks, crimps, or defects of any kind. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Motor fuel dispenser cabinet interiors: shows no evidence of leaking components and shows no oil, water, or debris present. |  | no defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
|  |  | defect | ☐ | ☐ | ☐ | ☐ |  | ☐ | ☐ |
| Transfer and dispensing areas: any release has been reported and cleaned in accordance with all applicable federal, state, and local requirements. |  | no defect | ☐ |  |  |  |  |  |  |
|  |  | defect | ☐ |  |  |  |  |  |  |
| Leak and product monitoring device alarm enunciation panels: there is proper operation of leak and product monitoring and detection systems. |  | no defect | ☐ |  |  |  | ****See Page 2**** For Additional Requirements |  |  |
|  |  | defect | ☐ |  |  |  |  |  |  |

Part II:  Inspection Items   -   Continued

| Leak and product monitoring device alarm enunciation panels: there is proper operation of leak and product monitoring and detection systems. **** Details **** |  |  |
| --- | --- | --- |
| System Type | Check for | Findings/Comments |
| 1.a. Automatic Tank Gauge (ATG) with Inventory Reconciliation | Passing test reports – print & filed – alarm histories, sensor status reports |  |
| 1.b. Inventory Reconciliation | Inventory reconciled weekly, within acceptable tolerance, & filed |  |
| 2. Continuous Interstitial Monitoring | Sensor status report – print & filed – alarm history |  |
| 3. Other - type |  |  |

Part III:  Repair and Maintenance Notes

Repair and/or Maintenance Notes:

Part IV:  Date of Inspection, Name and Signature of Person Conducting Inspection, and Names of Class A and /or Class B Operators Responsible for Monthly Inspection

| Date of Monthly Inspection | Name of Person Conducting Inspection | Signature of Person Conducting Inspection | Name of Class A or B Operator under whose direction inspection was conducted |
| --- | --- | --- | --- |