## Requirements
FEBRUARY 1, 2022, ANNUAL REPORT
1) A summary of the sewage spills that occurred within each municipality during such year
See CSO SUMMARY tab and SSO SUMMARY tab. For more detailed information, see the individual town tabs in the "2021 SSO Event Report " and "2021 CSO Event Report" spread sheets for more information
2) A summary of sewage spills that reached named or identified water bodies
See REACHED WATER SUMMARY tab with back up on SSO SUMMARY tab and CSO SUMMARY tab
3) A summary of the total volume of each category of sewage spill
See SSO SUMMARY tab and CSO SUMMERY tab
4) Any enforcement actions taken by the department related to such sewage spills.
No specific enforcement regarding the attached reports has been taken. Some enforcement may be present in other enforcement actions taken, such as CMOM enforcement. See the annual report overview for additional information
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## CSO SUMMARY
This is a summary of the combined sewer overflow data showing approximate number of events and gallons. Total for wach waterbody including SSOs are on the Reach Water Summary tab.
UTILITY | TOTAL DAYS OF OVERFLOW | TOTAL # of REPORTS | TOTAL ESTIMATED FLOW IN GALLONS | CT River Events | CT River Volume (Gallons) | Johnson's Creek Events | Johnson's Creek Volume (Gallons) | Yellow Mill Pond Events | Yellow Mill Pond Volume (Gallons) | Ash Creek Events | Ash Creek Volume (Gallons) | Black Rock Harbor Events | Black Rock Harbor Volume (Gallons) | Bridgeport Harbor Events | Bridgeport Harbor Volume (Gallons) | Burr Creek Events | Burr Creek Volume (Gallons) | Cedar Creek Events | Cedar Creek Volume (Gallons) | Island Brook Events | Island Brook Volume (Gallons) | Pequonnock River Events | Pequonnock River Volume (Gallons) | Yellow Mill River Events | Yellow Mill River Volume (Gallons) | Shetucket Events | Shetucket Volume (Gallons) | Thames River Events | Thames River Volume (Gallons) | Mill River Events | Mill River Volume (Gallons) | New Haven Harbor Events | New Haven Harbor Volume (Gallons) | Quinnipiac River Events | Quinnipiac River Volume (Gallons) | West River Events | West River Volume (Gallons)
Bridgeport East | 8 | 21 | > 16 million |  |  | 3 | > 3 million | 18 | > 13 million
Bridgeport West | 23 | 165 | > 108 million | [6 empty] | 14 | > 10 million | 5 | < 5 million | 6 | < 2.3 million | 19 | < 17 million | 7 | < 4.5 million | 4 | ~ 2.05 million | 99 | <55.65 million | 10 | > 7 million
GNHWPCA | 44 | 181 | > 78 million | [26 empty] | 46 | > 16.8 million | 46 | < 22.1 million | 46 | > 23.8 million | 47 | > 15.4 million
MDC | 90 | 60 | > 60 million | 60 | > 60 million
Norwich | 70 | 331 | > 41 million | [22 empty] | 245 | > 36.8 million | 86 | > 4.8 million
SUMMARY | 235 | 758 | > 303 million

## SSO SUMMARY
The first two sections count the number of events and volume amounts for each type of Sanitary Sewer Overflow (SSO) for each municipality and in total | [23 empty] | This secion keeps track of the approximate gallons spilled from SSOs by municipality - a combined total of CSOs and SSOs is on the Reached Water Summary Tab
Municipality | # of SSO Events | # of NPDES Permitted Bypasses | # ot TOTAL EVENTS | All Events Total Estimated Gallons | # Reached Water | # Approved Bypass for Construction | Volume (gallons) Approved Bypass for Construction | # Excessive Flows - Storm Event | Volume (gallons) Excessive Flows - Storm Event | # Electrical Equipment Failure | Volume (gallons) Eletrical Equipt Failure | # Mechanical Equipment Failure | Volume (gallons) Mech Equipt Failure | # Other - Sewer Break | Volume (gallons) Other - Sewer Break | # Sewer Line Blockage - Grease | Volume (gallons) Line Blockage - Grease | # Sewer Line Blockage - Roots | Volume (gallons) Line Blockage - Roots | # Sewer Line Blockage - Other | Volume (gallons) Link Bolckage - Other | # Unknown Cause | Volume (gallons) Unknown Cause | Unnamed Waterbody (gallons) | CT River (gallons) | Farmington River (gallons) | East Swamp Brook (gallons) | Bridgeport Harbor (gallons) | Cedar Creek (gallons) | Ox Brook (gallons) | Still River (gallons) | Limekiln River (gallons) | Goodwives River (gallons) | Noroton River (gallons) | Long Island Sound (gallons) | Stonybrook River (gallons) | Housatonic River (gallons) | Succor Brook (gallons) | Ash Creek (gallons) | Turney Creek (gallons) | Rooster River (gallons) | New Haven Harbor (gallons) | Brothers Brook (gallons) | Birch Plain Creek (gallons) | Pequonnock River (gallons) | Pomperaug River (gallons) | Transylvania Brook (gallons) | Quinnibaug River (gallons) | Folly Brook (gallons) | Piper Brook (gallons) | Trout Brook (gallons) | Webster Brook (gallons) | Park River (incl N, S & Conduit) (gallons) | Hockanum River (gallons) | Quinnipiac River (gallons) | Meetinghouse Brook (gallons) | Beaverbrook Trail (gallons) | Naugatuck River (gallons) | Filling Hill Brook (gallons) | Beacon Hill Brook (gallons) | Willow Brook (gallons) | Bentley Creek (gallons) | Pootatuck River (gallons) | Byram Harbor (gallons) | Byram River (gallons) | Greenwich Harbor (gallons) | Horseneck Brook (gallons) | Indian Harbor (gallons) | Keeler Brook (gallons) | Norwalk River (gallons) | Ford Brook (gallons) | Yantic River (gallons) | Thames River (gallons) | Shetucket River (gallons) | Little River (gallons) | Horse Brook (gallons) | Moosup River (gallons) | Great Swamp (gallons) | Scantic River (gallons) | Avery Brook (gallons) | Willimantic (gallons) | Rippowam River (gallons) | Stamford Harbor (gallons) | Fisher's Island Sound (gallons) | Bruce Brook (gallons) | Mad River (gallons) | Cove River (gallons) | Oyster River (gallons) | West River (gallons)
Ansonia | 4 | 0 | 4 | 50 | 0 | [12 empty] | 1 | 5 | 3 | 45
Bethel | 1 | 0 | 1 | 50 | 1 | [12 empty] | 1 | 50 | 0 | [6 empty] | 50
Bloomfield (MDC) | 2 | 0 | 2 | 31 | 0 | [12 empty] | 1 | 30 | 1 | 1
Branford | 5 | 0 | 5 | 1300 | 0 | 2 | 0 | [12 empty] | 3 | 1300
Bridgeport (East & West) | 1 | 26 | 27 | 304910520 | 27 |  |  | 26 | 304910000 | [6 empty] | 1 | 520 |  |  | 0 | [7 empty] | 224400000 | 80510000 | 520
Bristol | 5 | 0 | 5 | 1300 | 3 |  |  | 3 | 300 | [6 empty] | 1 | 700 |  |  | 1 | 300 |  |  | 850
Cheshire | 1 | 0 | 1 | 700 | 1 | [14 empty] | 1 | 700 |  |  | 700
Cromwell (Mattabassett) | 3 | 0 | 3 | 75805000 | 2 |  |  | 3 | 75805000 | [15 empty] | 75730000
Danbury | 6 | 0 | 6 | 1004200 | 2 |  |  | 2 | 1003000 |  |  | 1 | 300 |  |  | 2 | 600 |  |  | 1 | 300 | [9 empty] | 3000 | 1000000
Darien | 15 | 0 | 15 | 27529 | 15 |  |  | 14 | 27454 |  |  |  |  | 1 | 75 | [17 empty] | 4523 | 125 | 21361 | 1520
Derby | 4 | 0 | 4 | 10630 | 1 |  |  | 3 | 10600 | [12 empty] | 1 | 30 | [13 empty] | 3000 | 5000
East Haddam | 1 | 0 | 1 | 5000 | 1 | [8 empty] | 1 | 5000
East Hampton | 2 | 0 | 2 | 31000 | 0 | [6 empty] | 2 | 31000
East Hartford (MDC) | 5 | 0 | 5 | 4065 | 1 |  |  | 1 | 3000 | [6 empty] | 2 | 960 |  |  | 1 | 100 | 1 | 5 | [30 empty] | 950
East Haven (GNHWPCA) | 2 | 0 | 2 | 30 | 0 | 1 | 0 | [8 empty] | 1 | 30
East Windsor | 2 | 0 | 2 | 0 | 0 | 1 | 0 | [8 empty] | 1 | 0
Enfield | 1 | 0 | 1 | 500000 | 1 |  |  | 1 | 500000 | [15 empty] | 500000
Fairfield | 8 | 0 | 8 | 210183 | 5 |  |  | 4 | 210000 | [6 empty] | 1 | 3 | 1 | 50 | 2 | 130 | [17 empty] | 135000 | 75000 | 50
Farmington | 1 | 0 | 1 | 30000 | 0 | [6 empty] | 1 | 30000
Greenwich | 36 | 0 | 36 | 17100 | 32 |  |  | 34 | 16550 |  |  | 1 | 500 | [8 empty] | 1 | 50 | [11 empty] | 3200 | [7 empty] | 500 | [20 empty] | 600 | 1350 | 8300 | 2600 | 300
Groton (City, Town & USN) | 10 | 0 | 10 | 3795 | 2 |  |  | 1 | 100 | 1 | 300 | 1 | 100 |  |  | 6 | 3195 |  |  |  |  | 1 | 100 | [20 empty] | 3000 | 100
Griswold (Jewett City) | 2 | 0 | 2 | 9300 | 1 |  |  | 1 | 9000 | [8 empty] | 1 | 300 | [28 empty] | 9000
Hamden (GNHWPCA) | 1 | 0 | 1 | 30 | 0 | [14 empty] | 1 | 30
Hartford (MDC) | 9 | 0 | 9 | 468900 | 6 | [6 empty] | 2 | 12000 | 1 | 69000 |  |  |  |  | 2 | 371000 | 4 | 16900 |  | 23000 | [27 empty] | 443000
Lebanon | 1 | 0 | 1 | 30 | 0 | [14 empty] | 1 | 30
Litchfield | 1 | 0 | 1 | 0 | 0 |  |  |  |  | 1 | 0
Manchester | 6 | 0 | 6 | 2003830 | 5 |  |  | 1 | 1000000 | 1 | 1000000 | 2 | 530 |  |  | 2 | 3300 | [31 empty] | 3000 |  |  |  |  | 2000530
Mansfield (UCONN) | 6 | 0 | 6 | 1140 | 0 |  |  | 3 | 900 |  |  | 1 | 0 | 1 | 0 | [6 empty] | 1 | 240
Meriden | 7 | 0 | 7 | 3380800 | 3 |  |  | 2 | 3380000 |  |  | 1 | 700 |  |  | 2 | 50 |  |  | 2 | 50 | [33 empty] | 3380000 | 700
Middletown | 10 | 0 | 10 | 2530 | 4 |  |  | 3 | 2150 | [6 empty] | 1 | 60 | 3 | 140 | 3 | 180 |  |  |  | 2300
Milford | 7 | 0 | 7 | 33495 | 3 |  |  | 3 | 33030 |  |  | 1 | 30 | [6 empty] | 2 | 60 | 1 | 375 | [11 empty] | 3000 |  | 30 | [19 empty] | 30000
Montville | 2 | 0 | 2 | 76000 | 1 |  |  | 1 | 75000 |  |  | 1 | 1000 | [59 empty] | 75000
Naugatuck | 5 | 0 | 5 | 86475 | 3 |  |  | 1 | 84000 | 1 | 1500 | [6 empty] | 1 | 75 | 2 | 900 | [36 empty] | 1500 | 750 | 84000
New Britain | 17 | 0 | 17 | 2450 | 16 |  |  | 17 | 2450 | [40 empty] | 600 |  | 1500 | [8 empty] | 300
New Haven (GNHWPCA) | 28 | 0 | 28 | 26506071 | 8 |  |  | 8 | 26500000 |  |  | 1 | 3000 |  |  | 12 | 2581 | 2 | 275 | 2 | 150 | 3 | 65 | [18 empty] | 26503000
New London | 2 | 0 | 2 | 1000100 | 1 |  |  | 1 | 1000000 | [6 empty] | 1 | 100 | [44 empty] | 1000000
New Milford | 1 | 0 | 1 | 300 | 1 | [10 empty] | 1 | 300 | [19 empty] | 300
Newington (MDC) | 7 | 0 | 7 | 586060 | 2 | 1 | 0 | 2 | 585860 | [12 empty] | 4 | 200 | [28 empty] | 585860
Newtown | 1 | 0 | 1 | 300 | 1 | [14 empty] | 1 | 300 | [41 empty] | 300
North Haven | 6 | 0 | 6 | 4003975 | 3 |  |  | 2 | 4000000 | [6 empty] | 3 | 3825 |  |  | 1 | 150 |  |  | 3000 | [30 empty] | 1300000
Norwalk | 20 | 4 | 24 | 3304355 | 8 |  |  | 4 | 3300000 | 1 | 30 | 4 | 660 |  |  | 4 | 1700 | 1 | 50 | 8 | 1855 | 2 | 60 | [45 empty] | 1400 | 3300030
Norwich | 26 | 0 | 26 | 536844 | 0 |  |  | 1 | 24000 |  |  | 8 | 327366 |  |  | 2 | 180 | 1 | 6000 | 8 | 32905 | 6 | 146393 | [47 empty] | 24780 | 71100 | 402814 | 6850
Orange | 1 | 0 | 1 | 12118 | 1 | [16 empty] | 1 | 12118 | 12118
Oxford | 1 | 0 | 1 | 12500 | 1 | [8 empty] | 1 | 12500 | [59 empty] | 12500
Plainfield | 8 | 0 | 8 | 340985 | 2 | [6 empty] | 6 | 340675 | [6 empty] | 2 | 310 | [54 empty] | 30000 | 300
Plymouth | 4 | 0 | 4 | 465 | 2 | [6 empty] | 1 | 5 | [6 empty] | 1 | 300 | 2 | 160 | 450
Putnam | 4 | 0 | 4 | 150 | 0 | [6 empty] | 1 | 0 |  |  | 1 | 50 | 1 | 50 | 1 | 50
Ridgefield | 2 | 0 | 2 | 250030 | 1 |  |  | 1 | 250000 | [6 empty] | 1 | 30 | [60 empty] | 250000
Rocky Hill (MDC) | 1 | 0 | 1 | 150 | 1 | [6 empty] | 1 | 150 | [11 empty] | 150
Seymour | 1 | 0 | 1 | 30 | 0 | [10 empty] | 1 | 30
Shelton | 2 | 0 | 2 | 60 | 0 | [14 empty] | 2 | 60
Simsbury | 2 | 0 | 2 | 60 | 0 |  |  | 1 | 30 | [10 empty] | 1 | 30
Somers | 1 | 0 | 1 | 10000 | 1 | [6 empty] | 1 | 10000 | [65 empty] | 10000
South Windsor | 9 | 0 | 9 | 180700 | 6 |  |  | 1 | 3000 | 5 | 176000 | 2 | 1550 | [8 empty] | 1 | 150 | 50 | 126000 | [54 empty] | 50000
Southbury (Heritage Village) | 2 | 0 | 2 | 2800 | 2 | [6 empty] | 1 | 100 | [8 empty] | 1 | 2700 | [22 empty] | 100 | 2500
Southington | 6 | 0 | 6 | 3420 | 1 |  |  | 1 | 3000 | [6 empty] | 5 | 420 | [37 empty] | 3000
Stafford | 2 | 0 | 2 | 3750 | 1 |  |  | 1 | 3000 | [10 empty] | 1 | 750 | [59 empty] | 3000
Stamford | 11 | 0 | 11 | 1048140 | 6 |  |  | 4 | 1000810 |  |  | 2 | 13000 | 1 | 25200 | 2 | 100 |  |  | 1 | 30 | 1 | 9000 | [11 empty] | 750 | [46 empty] | 30 | 1022000
Stonington | 2 | 0 | 2 | 1300 | 1 |  |  |  |  | 1 | 1000 | [8 empty] | 1 | 300 | [62 empty] | 1000
Stratford | 7 | 0 | 7 | 27738300 | 6 |  |  | 5 | 27728000 | 1 | 10000 | [8 empty] | 1 | 300 | [15 empty] | 27737800 | [47 empty] | 300
Suffield | 4 | 0 | 4 | 660 | 0 |  |  | 1 | 300 |  |  | 2 | 60 |  |  | 1 | 300
Thomaston | 1 | 0 | 1 | 5000 | 1 |  |  | 1 | 5000 | [48 empty] | 5000
Torrington | 3 | 0 | 3 | 610 | 2 |  |  | 2 | 600 | [10 empty] | 1 | 10 | [36 empty] | 610
Trumbull | 1 | 0 | 1 | 300 | 0 | [10 empty] | 1 | 300
Vernon | 3 | 0 | 3 | 3000000 | 3 |  |  | 3 | 3000000 | [44 empty] | 3000000
Wallingford | 4 | 0 | 4 | 2033000 | 2 |  |  | 4 | 2033000 | [45 empty] | 2000000
Waterbury | 14 | 1 | 15 | 1010451 | 3 |  |  | 2 | 1000750 | [6 empty] | 1 | 100 | 1 | 20 | 6 | 9441 | 5 | 140 | [34 empty] | 1000000 | [27 empty] | 5350
Waterford | 2 | 0 | 2 | 600 | 0 | [6 empty] | 1 | 300 | [6 empty] | 1 | 300
West Haven | 27 | 0 | 27 | 1062365 | 11 |  |  | 8 | 1062000 |  |  | 1 | 20 |  |  | 11 | 205 | 1 | 20 | 5 | 100 | 1 | 20 | 20 | [10 empty] | 30000 | [6 empty] | 1002000 | [44 empty] | 10000 | 10000 | 10040
West Hartford (MDC) | 32 | 0 | 32 | 87824275 | 29 |  |  | 29 | 87824000 | [6 empty] | 1 | 150 | 1 | 75 |  |  | 1 | 50 | 150 | [25 empty] | 55896000 | 23310000
Westport | 1 | 0 | 1 | 3000 | 0 |  |  | 1 | 3000
Wethersfield (MDC) | 2 | 0 | 2 | 1050 | 1 |  |  | 1 | 1000 | [12 empty] | 1 | 50 | 1000
Windsor (MDC) | 2 | 0 | 2 | 379000 | 1 |  |  | 1 | 378000 | [10 empty] | 1 | 1000 |  |  |  |  | 378000
Windsor Locks | 1 | 0 | 1 | 150 | 1 | [14 empty] | 1 | 150 |  |  |  | 150
SUMMARY | 443 | 31 | 474 | 549490887 | 246 | 5 | 0 | 209 | 546777884 | 12 | 1188830 | 46 | 773046 | 6 | 111775 | 68 | 19789 | 17 | 7140 | 72 | 423617 | 39 | 188806
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## REACHED WATER SUMMARY
This is a summarry of approximately how many gallons reached each waterbody in each town. And the approximate total for each water body.
Municipality | Ash Creek (gallons) | Avery Brook (gallons) | Beacon Hill Brook (gallons) | Beaverbrook Trail (gallons) | Bentley Creek (gallons) | Birch Plain Creek (gallons) | Black Rock Harbor (gallons) | Bridgeport Harbor (gallons) | Brothers Brook (gallons) | Bruce Brook (gallons) | Burr Creek (gallons) | Byram Harbor (gallons) | Byram River (gallons) | Cedar Creek (gallons) | Connecticut River (gallons) | Cove River (gallons) | East Swamp Brook (gallons) | Farmington River (gallons) | Filling Hill Brook (gallons) | Fisher's Island Sound (gallons) | Folly Brook (gallons) | Ford Brook (gallons) | Goodwives River (gallons) | Great Swamp (gallons) | Greenwich Harbor (gallons) | Hockanum River (gallons) | Horse Brook (gallons) | Horseneck Brook (gallons) | Housatonic River (gallons) | Indian Harbor (gallons) | Island Brook (gallons) | Johnson's Creek (gallons) | Keeler Brook (gallons) | Limekiln River (gallons) | Little River (gallons) | Long Island Sound (gallons) | Mad River (gallons) | Meetinghouse Brook (gallons) | Mill River (gallons) | Moosup River (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Noroton River (gallons) | Norwalk River (gallons) | Ox Brook (gallons) | Oyster River (gallons) | Park River (incl N, S & Conduit) (gallons) | Pequonnock River (gallons) | Piper Brook (gallons) | Pomperaug River (gallons) | Pootatuck River (gallons) | Quinnibaug River (gallons) | Quinnipiac River (gallons) | Rippowam River (gallons) | Rooster River (gallons) | Scantic River (gallons) | Shetucket River (gallons) | Stamford Harbor (gallons) | Still River (gallons) | Stonybrook River (gallons) | Succor Brook (gallons) | Thames River (gallons) | Transylvania Brook (gallons) | Trout Brook (gallons) | Turney Creek (gallons) | Webster Brook (gallons) | West River (gallons) | Willimantic (gallons) | Willow Brook (gallons) | Yantic River (gallons) | Yellow Mill Pond (gallons) | Yellow Mill River (gallons) | Unnamed Waterbody (gallons)
Ansonia
Bethel | [16 empty] | 50
Branford
Bridgeport (East & West) | [7 empty] | 224400000 | [5 empty] | 80510000 | [30 empty] | 520
Bridgeport CSOs (East & West) | 10000000 | [5 empty] | 5000000 | 2300000 |  |  | 17000000 |  |  | 4500000 | [16 empty] | 2050000 | 3000000 | [15 empty] | 55650000 | [22 empty] | 13000000 | 7000000
Bristol | [72 empty] | 850
Cheshire | [72 empty] | 700
Danbury | [33 empty] | 1000000 | [24 empty] | 3000
Darien | [22 empty] | 4523 | [12 empty] | 21361 | [6 empty] | 125 | [16 empty] | 1520
Derby | [28 empty] | 3000 | [31 empty] | 5000
East Haddam
East Hampton
East Windsor
Enfield | [14 empty] | 500000
Fairfield | 135000 | [53 empty] | 50 | [9 empty] | 75000
Farmington
East Haven (GNHWPCA)
Hamden (GNHWPCA)
New Haven (GNHWPCA) | [41 empty] | 26503000
New Haven CSOs (GNHWPCA) | [38 empty] | 16800000 |  |  | 22100000 | [10 empty] | 23800000 | [13 empty] | 15400000
Greenwich | [8 empty] | 500 |  |  | 600 | 1350 | [11 empty] | 8300 |  |  | 2600 |  | 300 | [5 empty] | 3200
Groton (City, Town & USN) | [5 empty] | 3000 | [41 empty] | 100
Southbury | [49 empty] | 100 | [12 empty] | 2500
Griswold | [51 empty] | 9000
Lebanon
Litchfield
Manchester | [20 empty] | 3000 |  |  |  |  | 2000530
Cromwell (Mattabassett) | [14 empty] | 75730000
Bloomfield (MDC)
East Hartford (MDC) | [25 empty] | 950
Hartford (MDC) | [14 empty] | 23000 | [31 empty] | 443000
Hartford CSOs (MDC) | [14 empty] | 60000000
Newington (MDC) | [65 empty] | 585860
Rocky Hill (MDC) | [14 empty] | 150
West Hartford (MDC) | [48 empty] | 55896000 | [14 empty] | 23310000 | [8 empty] | 150
Wethersfield (MDC) | [72 empty] | 1000
Windsor (MDC) | [17 empty] | 378000
Meriden | [37 empty] | 700 | [14 empty] | 3380000
Middletown | [14 empty] | 2300
Milford |  |  |  | 30000 | [24 empty] | 30 | [6 empty] | 3000
Montville | [61 empty] | 75000
Naugatuck |  |  | 84000 | [15 empty] | 750 | [21 empty] | 1500
New Britain | [48 empty] | 600 | [16 empty] | 1500 |  |  | 300
New London |  |  |  |  | 1000000
New Milford | [28 empty] | 300
Newtown | [50 empty] | 300
North Haven | [52 empty] | 1300000 | [19 empty] | 3000
Norwalk | [32 empty] | 1400 | [10 empty] | 3300030
Norwich | [21 empty] | 24780 | [34 empty] | 6850 |  |  |  |  | 402814 | [7 empty] | 71100
Norwich CSO | [56 empty] | 36800000 |  |  |  |  | 4800000
Orange | [72 empty] | 12118
Oxford | [34 empty] | 12500
Plainfield | [26 empty] | 30000 | [12 empty] | 300
Plymouth | [72 empty] | 450
Putnam
Ridgefield | [23 empty] | 250000
Seymour
Shelton
Simsbury
Somers | [55 empty] | 10000
South Windsor |  | 50000 | [12 empty] | 126000 | [57 empty] | 50
Southington | [52 empty] | 3000
Stafford | [67 empty] | 3000
Stamford | [35 empty] | 750 | [17 empty] | 30 |  |  |  | 1022000
Stonington | [19 empty] | 1000
Stratford | [9 empty] | 300 | [18 empty] | 27737800
Suffield
Thomaston | [40 empty] | 5000
Torrington | [40 empty] | 610
Trumbull
Mansfield
Vernon | [25 empty] | 3000000
Wallingford | [52 empty] | 2000000
Waterbury (incl CSO) | [36 empty] | 5350 |  |  |  | 1000000
Waterford
West Haven | [15 empty] | 10000 | [19 empty] | 30000 | [5 empty] | 1002000 |  |  |  | 10000 | [20 empty] | 10040 | [5 empty] | 20
Westport
Windsor Locks | [14 empty] | 150
TOTALS | 10135000 | 50000 | 84000 | 30000 | 1000000 | 3000 | 5000000 | 226700000 | 500 | 300 | 17000000 | 600 | 1350 | 85010000 | 136381600 | 10000 | 50 | 378000 | 750 | 1000 | 3000 | 24780 | 4523 | 250000 | 8300 | 5001480 | 30000 | 2600 | 27741130 | 300 | 2050000 | 3000000 | 1400 | 1000000 | 12500 | 58311 | 5350 | 700 | 16800000 | 300 | 1007110 | 49605000 | 125 | 3300030 | 520 | 10000 | 443000 | 55650100 | 55896600 | 100 | 300 | 9000 | 30483000 | 30 | 50 | 10000 | 36806850 | 1022000 | 3000 | 1520 | 5000 | 5277814 | 2500 | 23310000 | 75000 | 587360 | 15410040 | 3000 | 300 | 71100 | 13000000 | 7000000 | 18338