## CSO SUMMARY
This is a summary of the combined sewer overflow data showing approximate number of events and gallons.
UTILITY | TOTAL DAYS OF OVERFLOW | TOTAL # of REPORTS | TOTAL ESTIMATED FLOW IN GALLONS | Ash Creek Events | Ash Creek Volume (Gallons) | Black Rock Harbor Events | Black Rock Harbor Volume (Gallons) | Bridgeport Harbor Events | Bridgeport Harbor Volume (Gallons) | Burr Creek Events | Burr Creek Volume (Gallons) | Cedar Creek Events | Cedar Creek Volume (Gallons) | CT River Events | CT River Volume (Gallons) | Gully Brook Conduit Events | Gully Brook Conduit (Gallons) | Island Brook Events | Island Brook Volume (Gallons) | Johnson's Creek Events | Johnson's Creek Volume (Gallons) | Mill River Events | Mill River Volume (Gallons) | Naugatuck River Events | Naugatuck River (Gallons) | New Haven Harbor Events | New Haven Harbor Volume (Gallons) | North Branch Park River & Conduit Events | North Branch Park River & Conduit Volume (Gallons) | Norwalk River Events | Norwalk River (Gallons) | Park River Auxillary Conduit Events | Park River Auxillary Conduit Volume (Gallons) | Park River Conduit Events | Park River Conduit Volume (Gallons) | Pequonnock River Events | Pequonnock River Volume (Gallons) | Quinnipiac River Events | Quinnipiac River Volume (Gallons) | Shetucket Events | Shetucket Volume (Gallons) | South Branch Park River Events | South Branch Park River Volume (Gallons) | Thames River Events | Thames River Volume (Gallons) | West River Events | West River Volume (Gallons) | Yellow Mill Pond Events | Yellow Mill Pond Volume (Gallons)
Bridgeport East | 37 | 28 | 12609000 | [16 empty] | 5 | 2160000 | [26 empty] | 23 | 10449000
Bridgeport West | 273 | 229 | 187610000 | 21 | 16020000 | 9 | 7590000 | 1 | 110000 | 31 | 43890000 | 9 | 19920000 |  |  |  |  | 9 | 1540000 | [16 empty] | 149 | 98540000
GNHWPCA | 127 | 126 | 54165339 | [18 empty] | 35 | 6531330 |  |  | 26 | 21229000 | [10 empty] | 46 | 11409009 | [6 empty] | 19 | 14996000
MDC | 87 | 52 | 796804099 | [10 empty] | 9 | 277222000 | 2 | 31430000 | [10 empty] | 6 | 30965000 |  |  | 20 | 301944000 | 14 | 154688099 | [6 empty] | 1 | 555000
Norwalk | 15 | 8 | 39800000 | [26 empty] | 8 | 39800000
Norwich | 503 | 377 | 91434054 | [36 empty] | 263 | 78015688 |  |  | 114 | 13418366
Waterbury | 3 | 2 | 22250000 | [20 empty] | 2 | 22250000
SUMMARY | 1045 | 822 | 1204672492 | 21 | 16020000 | 9 | 7590000 | 1 | 110000 | 31 | 43890000 | 9 | 19920000 | 9 | 277222000 | 2 | 31430000 | 9 | 1540000 | 5 | 2160000 | 35 | 6531330 | 2 | 22250000 | 26 | 21229000 | 6 | 30965000 | 8 | 39800000 | 20 | 301944000 | 14 | 154688099 | 149 | 98540000 | 46 | 11409009 | 263 | 78015688 | 1 | 555000 | 114 | 13418366 | 19 | 14996000 | 23 | 10449000
|  |  |  | Events Check | 822
|  |  |  | Gallons Check | 1204672492
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.
· Reports with zero (0) flow reported are not counted as events, days or flow.
· Total Days Counted are unique days of flow for each permittee. Ex: 7/2 - 7/4 would be 3 unique days. All other reports within that time frame are counted under that one day.
· Total number of reports is unique for each utility as the breakout of how the CSO events are grouped will be different.

## SSO SUMMARY
The first two sections count the number of events and volume amounts for each type of Sanitary Sewer Overflow (SSO) for each municipality and in total | [30 empty] | This secion keeps track of the approximate gallons spilled from SSOs by municipality - a combined total of CSOs and SSOs is on the Reached Water Summary Tab
Municipality | # of SSO Events | # of NPDES Permitted Bypasses | # ot TOTAL EVENTS | All Events Total Estimated Gallons | # Reached Water |  | # Excessive Flows - Storm Event | Volume (gallons) Excessive Flows - Storm Event | # Excessive Flows - Snow Melt | Volume (gallons) Excessive Flows - Snow Melt | # Electrical Equipment Failure | Volume (gallons) Eletrical Equipt Failure | # Mechanical Equipment Failure | Volume (gallons) Mech Equipt Failure | # Other - Sewer Break, Crack or Failure | Volume (gallons) Other - Sewer Break, Crack or Failure | # Other - Contractor or Operator Error or other mechanical | Volume (gallons) Other - Contractoror Operator error or other mechanical | # Sewer Line Blockage - Grease | Volume (gallons) Line Blockage - Grease | # Sewer Line Blockage - Rags | Volume (gallons) Line Blockage - Rags | # Sewer Line Blockage - Roots | Volume (gallons) Line Blockage - Roots | # Sewer Line Blockage - Debris (Bricks, Carts,Silt, etc) | Volume (gallons) Link Bolckage - Debris (Bricks, Carts, Silt, etc) | # Sewer Line Blockage - Other | Volume (gallons) Link Bolckage - Other | # Unknown Cause | Volume (gallons) Unknown Cause | Unnamed Waterbody (gallons) | 5 Mile River (gallons) | Ash Creek (gallons) | Avery Brook (gallons) | Bantam River (gallons) | Beaver Brook (gallons) | Black Rock Harbor / LIS (gallons) | Bride Brook (gallons) | Bridgeport Harbor / LIS (gallons) | Bristol Fish & Game Club Pond (gallons) | Bruce Brook (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | Copper Mine Brook (gallons) | Deckers Brook (gallons) | Farmington River (gallons) | Goodwives River (gallons) | Greenwich Cove / Harbor (gallons0 | Hockanum River (gallons) | Holly Pond (gallons) | Housatonic River (gallons) | Indian River (gallons) | Keeler Brook (gallons) | Little River (gallons) | Long Island Sound (gallons) | Long Meadow Pond Brook (gallons) | Mad River (gallons) | Mattabassett River (gallons) | Middle Pond (gallons) | Mill Brook (gallons) | Mill Pond (gallons) | Mill River (gallons) | Moosup River (gallons) | Muddy Brook (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Old Field Creek (gallons) | Park River (incl N, S & Conduit) (gallons) | Piper Brook (gallons) | Pomperug River (gallons) | Quinnipiac River (gallons) | Rooster River (gallons) | Saugatuck River (gallons) | Seeley Pond (gallons) | Shetucket River (gallons) | Stamford Harbor East Branch (gallons) (gallons) | Steele Brook (gallons) | Still River (gallons) | Stony Brook River (gallons) | Thames River (gallons) | Thurston Pnd (gallons) | Trout Brook (gallons) | Trumpet Brook (gallons) | Webster Brook (gallons) | Welton Brook (gallons) | Wilson Cove (gallons)
Beacon Falls | 2 | 0 | 2 | 9800 | 2 |  | 2 | 9800 | [56 empty] | 9800
Berlin | 3 | 0 | 3 | 1600 | 0 |  | 1 | 800 | [10 empty] | 2 | 800
Bloomfield | 2 | 0 | 2 | 859 | 0 | [11 empty] | 1 | 850 | 1 | 9
Branford | 2 | 0 | 2 | 350 | 0 | [13 empty] | 1 | 300 | 1 | 50
Bridgeport | 16 | 35 | 51 | 176700052 | 40 |  | 35 | 176697222 | [10 empty] | 9 | 1530 | 7 | 1300 | [14 empty] | 580 |  | 45130000 |  | 150 | 116597222 | [12 empty] | 14970300 | [16 empty] | 100 |  | 200
Bristol | 8 | 0 | 8 | 146013 | 2 |  | 2 | 61500 | [10 empty] | 2 | 98 | 2 | 115 |  |  | 2 | 84300 | [13 empty] | 30000 |  |  |  | 31500
Cheshire | 2 | 0 | 2 | 2003000 | 1 |  | 1 | 3000 | [6 empty] | 1 | 2000000 | [45 empty] | 2000000
Coventry | 3 | 0 | 3 | 58000 | 0 |  | 1 | 21000 | [8 empty] | 2 | 37000
Cromwell | 10 | 0 | 10 | 71401548 | 10 |  | 10 | 71401548 | [34 empty] | 71329548 | [14 empty] | 72000
Danbury | 4 | 0 | 4 | 7918850 | 4 |  | 2 | 7918000 | [10 empty] | 1 | 500 | 1 | 350
Darien | 3 | 0 | 3 | 346 | 2 |  | 2 | 346 | [6 empty] | 1 | 0 | [30 empty] | 346
Derby | 3 | 0 | 3 | 110090 | 2 |  | 1 | 70000 |  |  |  |  | 1 | 40000 | 1 | 90 | [34 empty] | 110000
East Haddam | 1 | 0 | 1 | 10000 | 1 | [9 empty] | 1 | 10000 | [26 empty] | 10000
East Hartford | 3 | 0 | 3 | 95 | 0 | [13 empty] | 1 | 85 | [6 empty] | 1 | 1 | 1 | 9
East Haven | 1 | 0 | 1 | 5 | 0 | [9 empty] | 1 | 5
East Lyme | 1 | 0 | 1 | 31200 | 1 | [9 empty] | 1 | 31200 | [21 empty] | 31200
Fairfield | 17 | 0 | 17 | 77355 | 1 |  | 10 | 75000 |  |  |  |  | 1 | 1500 |  |  |  |  | 2 | 275 | 2 | 475 | 2 | 105 | [8 empty] | 11000
Glastonbury | 1 | 0 | 1 | 240 | 0 | [13 empty] | 1 | 240
Granby | 1 | 0 | 1 | 50 | 0 | [7 empty] | 1 | 50
Greenwich | 3 | 0 | 3 | 61300 | 3 |  | 1 | 200 | [6 empty] | 1 | 100 | 1 | 61000 | [12 empty] | 100 | [16 empty] | 61200
Groton | 11 | 0 | 11 | 1550 | 1 | [5 empty] | 1 | 630 |  |  | 1 | 25 | 1 | 300 | 2 | 10 |  |  | 1 | 90 | 2 | 360 |  |  | 3 | 135 | [49 empty] | 630
Hartford | 18 | 0 | 18 | 184599 | 4 |  | 6 | 1300 | [6 empty] | 2 | 20 | 3 | 180000 | 3 | 189 | [8 empty] | 4 | 3090 | [37 empty] | 180090
Litchfield | 2 | 0 | 2 | 79300 | 1 | [15 empty] | 1 | 43300 | 1 | 36000 | [10 empty] | 36000
Manchester | 3 | 0 | 3 | 201590 | 1 | [13 empty] | 2 | 201500 |  |  | 1 | 90 | [24 empty] | 200000
Mansfield | 2 | 0 | 2 | 75900 | 0 |  |  |  | 1 | 75000 |  |  |  |  | 1 | 900
Meriden | 2 | 0 | 2 | 540750 | 1 |  | 1 | 540000 | [10 empty] | 1 | 750 | [50 empty] | 540000
Middletown | 1 | 0 | 1 | 90 | 0 | [17 empty] | 1 | 90
Milford | 5 | 0 | 5 | 13600365 | 3 |  | 2 | 13600000 |  |  |  |  | 2 | 280 |  |  | 1 | 85 | [12 empty] | 80 | [19 empty] | 13600000
Montville | 6 | 0 | 6 | 5004000 | 4 |  | 3 | 5000000 | [6 empty] | 3 | 4000 | [63 empty] | 5001000
Naugatuck | 6 | 0 | 6 | 198675 | 4 |  | 2 | 195000 | [6 empty] | 1 | 200 | 1 | 1800 | 1 | 175 |  |  | 1 | 1500 | [31 empty] | 1800 | [8 empty] | 195000 | [15 empty] | 1500
New Canaan | 1 | 0 | 1 | 367000 | 1 | 1 | 1 | 367000 | [23 empty] | 367000
New Haven | 9 | 64 | 73 | 305829220 | 66 |  | 66 | 305827600 |  |  |  |  | 1 | 45 | 1 | 45 | 1 | 450 | 2 | 130 |  |  |  |  | 2 | 950 | [39 empty] | 305827600
New London | 3 | 0 | 3 | 155000 | 3 |  | 2 | 6000 | [8 empty] | 1 | 149000 | [61 empty] | 155000
Newington | 8 | 0 | 8 | 1552700 | 6 |  | 8 | 1552700 | [51 empty] | 20850 | [23 empty] | 1531670
North Haven | 3 | 0 | 3 | 803 | 0 | [9 empty] | 1 | 40 | [6 empty] | 1 | 13 |  |  |  |  | 1 | 750
Norwalk | 10 | 0 | 10 | 1739782 | 5 |  | 1 | 1700000 |  |  |  |  | 4 | 37562 | 3 | 1690 | 1 | 450 |  |  | 1 | 80 | [29 empty] | 34362 | 1700450 | [19 empty] | 800 | [12 empty] | 2500
Norwich | 9 | 0 | 9 | 5074010 | 6 |  | 1 | 100 |  |  |  |  | 2 | 213224 | 2 | 887387 |  |  | 1 | 10000 | 2 | 43429 |  |  | 1 | 3919870 | [48 empty] | 263653 |  |  |  |  | 4804757
Orange | 1 | 0 | 1 | 20 | 0 | [11 empty] | 1 | 20
Oxford | 1 | 0 | 1 | 40000 | 1 | [9 empty] | 1 | 40000 | [37 empty] | 40000
Plainfield | 3 | 0 | 3 | 1750 | 2 | [5 empty] | 1 | 1000 | 1 | 300 |  |  | 1 | 450 | [44 empty] | 1300
Plymouth | 5 | 0 | 5 | 2725 | 1 | [9 empty] | 3 | 1625 |  |  | 1 | 1000 |  |  |  |  | 1 | 100 | [32 empty] | 1000
Ridgefield | 1 | 0 | 1 | 70 | 0 | [13 empty] | 1 | 70
Seymour | 1 | 0 | 1 | 20475 | 1 |  | 1 | 20475 | [56 empty] | 20475
Shelton | 4 | 0 | 4 | 263 | 0 | [9 empty] | 1 | 200 |  |  |  |  | 1 | 45 | [6 empty] | 2 | 18
Simsbury | 2 | 0 | 2 | 4980015 | 2 |  | 1 | 4980000 | [12 empty] | 1 | 15 | [23 empty] | 4980015
South Windsor | 4 | 0 | 4 | 24190 | 3 | [5 empty] | 2 | 20100 |  |  |  |  | 1 | 4000 |  |  | 1 | 90 | [11 empty] | 90 | [8 empty] | 20100
Southbury | 4 | 0 | 4 | 28110 | 2 | [9 empty] | 3 | 28100 | [6 empty] | 1 | 10 | [45 empty] | 28000
Southington | 4 | 0 | 4 | 7497530 | 2 |  | 2 | 7497000 |  |  | 1 | 500 | [16 empty] | 1 | 30 | [40 empty] | 7497000
Stamford | 6 | 0 | 6 | 159020 | 5 |  | 3 | 151020 |  |  |  |  | 1 | 1000 | 1 | 3000 | 1 | 4000 | [31 empty] | 20 | [25 empty] | 155000
Stratford | 7 | 0 | 7 | 37000180 | 6 |  | 4 | 33700000 | [6 empty] | 1 | 3300000 | 1 | 90 | [6 empty] | 1 | 90 | [24 empty] | 37000090
Torrington | 4 | 0 | 4 | 570 | 3 | [7 empty] | 1 | 10 | 1 | 50 |  |  | 1 | 500 | 1 | 10 | [8 empty] | 500 | [46 empty] | 60
Trumbull | 5 | 0 | 5 | 17100 | 0 | [9 empty] | 3 | 15300 | 1 | 300 |  |  |  |  | 1 | 1500
Vernon | 2 | 0 | 2 | 1025 | 2 | [7 empty] | 1 | 50 | 1 | 975 | [32 empty] | 1025
Waterbury | 14 | 0 | 14 | 1206063 | 11 |  | 6 | 1121403 |  |  |  |  | 1 | 180 | 3 | 78600 |  |  |  |  | 1 | 3750 |  |  |  |  | 3 | 2130 | [7 empty] | 100 | [20 empty] | 3750 | [7 empty] | 846153 | [11 empty] | 5400 | [5 empty] | 73200 |  | 275250
West Hartford | 36 | 0 | 36 | 179142200 | 32 |  | 32 | 179141800 | [10 empty] | 1 | 100 |  |  | 1 | 100 | 1 | 100 |  |  | 1 | 100 | [38 empty] | 129015850 | [12 empty] | 50125950
West Haven | 6 | 0 | 6 | 4020870 | 4 |  | 5 | 4020820 | [12 empty] | 1 | 50 | [32 empty] | 2000 | [11 empty] | 401350
Westport | 3 | 0 | 3 | 153150 | 3 |  | 1 | 3000 | [6 empty] | 1 | 150000 | 1 | 150 | [42 empty] | 150 |  |  | 150000 | [14 empty] | 3000
Wethersfield | 8 | 0 | 8 | 1200 | 2 |  | 6 | 600 | [16 empty] | 1 | 500 |  |  | 1 | 100 | [5 empty] | 200
Windsor | 10 | 0 | 10 | 32550 | 2 |  | 9 | 32450 | [20 empty] | 1 | 100 | [14 empty] | 850 | 30000
Winsted | 1 | 0 | 1 | 10000 | 0 | [11 empty] | 1 | 10000
SUMMARY | 317 | 99 | 416 | 827475163 | 259 |  | 231 | 815716684 | 1 | 75000 | 5 | 22230 | 17 | 294201 | 41 | 6553552 | 21 | 449945 | 36 | 218261 | 23 | 93059 | 11 | 39498 | 11 | 4006270 | 4 | 2131 | 15 | 4332 | 680 | 367000 | 11000 | 90 | 36000 | 300 | 580 | 31200 | 45130000 | 30000 | 150 | 116597222 | 71359648 | 31500 | 850 | 5010015 | 346 | 61200 | 201025 | 20 | 50710090 | 34362 | 1700450 | 40000 | 14972300 | 1800 | 3750 | 72000 | 1000 | 20850 | 150 | 2000000 | 1300 | 150000 | 1071428 | 305827600 | 401350 | 180090 | 129015850 | 28000 | 8037000 | 100 | 800 | 200 | 263653 | 155000 | 5400 | 60 | 3000 | 9961387 | 1500 | 50125950 | 73200 | 1531670 | 275250 | 2500
[8 empty] | Event Count | 416
[8 empty] | Gallons Count | 827475163
[31 empty] | TOTAL REACHED WATER: |  |  |  | 815537866
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## REACHED WATER SUMMARY
This secion keeps track of the approximate gallons spilled by municipality - a combined total of CSOs and SSOs
Municipality | Unnamed Waterbody (gallons) | 5 Mile River (gallons) | Ash Creek (gallons) | Avery Brook (gallons) | Bantam River (gallons) | Beaver Brook (gallons) | Black Rock Harbor / LIS (gallons) | Bride Brook (gallons) | Bridgeport Harbor / LIS (gallons) | Bristol Fish & Game Club Pond (gallons) | Bruce Brook (gallons) | Burr Creek (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | Copper Mine Brook (gallons) | Deckers Brook (gallons) | Farmington River (gallons) | Goodwives River (gallons) | Greenwich Cove / Harbor (gallons0 | Gully Brook Conduit (gallons) | Hockanum River (gallons) | Holly Pond (gallons) | Housatonic River (gallons) | Indian River (gallons) | Island Brook (gallons) | Johnsons Creek (gallons) | Keeler Brook (gallons) | Little River (gallons) | Long Island Sound (gallons) | Long Meadow Pond Brook (gallons) | Mad River (gallons) | Mattabassett River (gallons) | Middle Pond (gallons) | Mill Brook (gallons) | Mill Pond (gallons) | Mill River (gallons) | Moosup River (gallons) | Muddy Brook (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | North Branch Park River & Conduit (gallons) | Norwalk River (gallons) | Old Field Creek (gallons) | Park River (incl N, S & Conduit) (gallons) | Pequonnock River (gallons) | Piper Brook (gallons) | Pomperug River (gallons) | Quinnipiac River (gallons) | Rooster River (gallons) | Saugatuck River (gallons) | Seeley Pond (gallons) | Shetucket River (gallons) | Stamford Harbor East Branch (gallons) (gallons) | Steele Brook (gallons) | Still River (gallons) | Stony Brook River (gallons) | Thames River (gallons) | Thurston Pnd (gallons) | Trout Brook (gallons) | Trumpet Brook (gallons) | Webster Brook (gallons) | Welton Brook (gallons) | West River (gallons) | Wilson Cove (gallons) | Yellow Mill Pond (gallons)
Beacon Falls | [38 empty] | 9800
Berlin
Bloomfield
Branford
Bridgeport |  |  |  | 16020000 |  |  | 7590580 |  | 45240000 |  | 150 | 43890000 | 136517222 | [11 empty] | 1540000 | 2160000 |  |  | 14970300 | [15 empty] | 98540000 |  |  |  | 100 |  | 200 | [13 empty] | 10449000
Bristol | [9 empty] | 30000 |  |  |  |  | 31500
Cheshire | [35 empty] | 2000000
Coventry
Cromwell | [13 empty] | 71329548 | [17 empty] | 72000
Danbury
Darien | [17 empty] | 346
Derby | [22 empty] | 110000
East Haddam | [13 empty] | 10000
East Hartford
East Haven
East Lyme | [7 empty] | 31200
Fairfield |  |  | 11000
Glastonbury
Granby
Greenwich | 100 | [17 empty] | 61200
Groton | [56 empty] | 630
Hartford | [13 empty] | 277222000 | [5 empty] | 31430000 | [20 empty] | 30965000 |  |  | 457367189
Litchfield |  |  |  |  | 36000
Manchester | [20 empty] | 200000
Mansfield
Meriden | [47 empty] | 540000
Middletown
Milford | 80 | [21 empty] | 13600000
Montville | [56 empty] | 5001000
Naugatuck | [29 empty] | 1800 | [8 empty] | 195000 | [18 empty] | 1500
New Canaan |  | 367000
New Haven | [35 empty] | 6531330 |  |  |  | 327056600 | [7 empty] | 11409009 | [14 empty] | 14996000
New London | [56 empty] | 155000
Newington | [33 empty] | 20850 | [26 empty] | 1531670
North Haven
Norwalk | [23 empty] | 34362 |  |  | 1700450 | [14 empty] | 39800000 | [7 empty] | 800 | [13 empty] | 2500
Norwich | [51 empty] | 78279341 |  |  |  |  | 18223123
Orange
Oxford | [27 empty] | 40000
Plainfield | [36 empty] | 1300
Plymouth | [32 empty] | 1000
Ridgefield
Seymour | [38 empty] | 20475
Shelton
Simsbury | [16 empty] | 4980015
South Windsor |  |  |  | 90 | [9 empty] | 20100
Southbury | [46 empty] | 28000
Southington | [47 empty] | 7497000
Stamford | [21 empty] | 20 | [30 empty] | 155000
Stratford | [22 empty] | 37000090
Torrington | 500 | [53 empty] | 60
Trumbull
Vernon | [20 empty] | 1025
Waterbury | [5 empty] | 100 | [24 empty] | 3750 | [7 empty] | 23096153 | [14 empty] | 5400 | [5 empty] | 73200 |  | 275250
West Hartford | [45 empty] | 129015850 | [12 empty] | 50125950
West Haven | [28 empty] | 2000 | [13 empty] | 401350
Westport | [34 empty] | 150 |  |  | 150000 | [17 empty] | 3000
Wethersfield | [5 empty] | 200
Windsor | [15 empty] | 850 | 30000
Winsted
SUMMARY | 680 | 367000 | 11000 | 16020090 | 36000 | 300 | 7590580 | 31200 | 45240000 | 30000 | 150 | 43890000 | 136517222 | 348581648 | 31500 | 850 | 5010015 | 346 | 61200 | 31430000 | 201025 | 20 | 50710090 | 34362 | 1540000 | 2160000 | 1700450 | 40000 | 14972300 | 1800 | 3750 | 72000 | 1000 | 20850 | 150 | 8531330 | 1300 | 150000 | 23321428 | 327056600 | 30965000 | 39800000 | 401350 | 457367189 | 98540000 | 129015850 | 28000 | 19446009 | 100 | 800 | 200 | 78279341 | 155000 | 5400 | 60 | 3000 | 23379753 | 1500 | 50125950 | 73200 | 1531670 | 275250 | 14996000 | 2500 | 10449000
|  | TOTAL REACHED WATER: |  |  | 2020209678
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.